|  | Environmental Management Department 10590 Armstrong Ave, Ste. A Mather, CA 95655 Tel: (916) 875-8550 Fax: (916) 875-8513 www.emd.saccounty.net/ | APPLICATION FOR A PERMIT TO INSTALL UPGRADE OR REPAIR UNDERGROUND STORAGE TANK(S) FOR HAZARDOUS SUBSTANCES |
| --- | --- | --- |

|  | FOR AGENCY USE ONLY |  |  |
| --- | --- | --- | --- |
| DATE REC’D: |  | INSTALLATION AUTHORITY#: |  | BY: |  |
| RECEIPT #: |  |  | FEE: |  | BY: |  |
| SR#: |  |  |  |  | FA#: |  |

INSTRUCTIONS

- This is an Application for the Sacramento County Environmental Management Department (EMD).

- This application does not constitute approval from all local agencies. You must seek approval from the local building, planning, air quality and fire commissions, departments or other agencies having jurisdiction over this project.

- This application is valid for six (6) months from the date of application.

- Three copies of drawings must be submitted.

- All fees must be submitted with this application (each tank compartment is considered a separate tank).

- Each tank, or compartment, even if identical, must have a separate UST tank form submitted to the California Electronic Reporting System (CERS).

Install     Upgrade–Including Piping     Upgrade–No-Piping*     Repair**     Spill Container Only

Number of Compartments _______________

* Upgrade-No Piping: Includes UDC installation or sump installation.

** Repair: Includes replacement of the leak detection console or the repair of a leaking pipe.

| ASSESSORS PARCEL NUMBER |  |
| --- | --- |
| CONTRACTOR COMPANY NAME |  | PHONE |  |
| CONTRACTOR ADDRESS |  |
| CITY |  | ZIP |  | LIC# |  | CLASSIFICATIONS |  |
| CONTRACTOR SIGNATURE |  |  | DATE |  |
| PRINT NAME |  |  |  |
| FACILITY NAME |  | FIRE DISTRICT |  |
| FACILITY ADDRESS |  | CITY |  |  | ZIP |  |
| OWNER NAME |  |  |  | PHONE |  |  |  |
| OWNER ADDRESS |  | CITY |  |  | ZIP |  |
| OWNER MAILING ADD. |  | CITY |  | ZIP |  |

- This document shall be completed & submitted to the EMD along with site specific drawings and supporting forms.

- In the table below, check the box for any component that will be installed, replaced or modified.  List the manufacturer name and specific model number for each piece of new equipment.  If an item is not applicable to this project, check the “N/A” box.

- For a list of items that must be included in the site specific drawings refer to the “Drawings & Parts List” document.

- Each item marked yes must be depicted in the site specific drawings.

| Agency Use Only | Equipment | Will be replaced, repaired or installed? | If yes, list the Name of Equipment Manufacturer (for the new equipment only) | If yes list the Model Number (for the new equipment only) |
| --- | --- | --- | --- | --- |
|  | Tank(s) | Yes No | N/A | N/A |
|  | Primary Product Pipe | Yes No | N/A | N/A |
|  | Secondary Product Pipe | Yes No | N/A | N/A |
|  | Primary Vapor Return Pipe | Yes No | N/A | N/A |
|  | Secondary Vapor Return Pipe | Yes No | N/A | N/A |
|  | Primary Vent Pipe | Yes No | N/A | N/A |
|  | Secondary Vent Pipe | Yes No | N/A | N/A |
|  | Product Sumps, tophats, and tophat lids. | Yes No | N/A | N/A |
|  | Fill Sumps, tophats, and tophat lids. | Yes No | N/A | N/A |
|  | Manway lids for sumps. | Yes No | N/A | N/A |
|  | Under Dispenser Containment | Yes No | N/A | N/A |
|  | Leak Detection Console | Yes No | N/A | N/A |
|  | Tank Interstitial Space Sensor | Yes No | N/A | N/A |
|  | Product Sump Sensor | Yes No | N/A | N/A |
|  | Fill Sump Sensor | Yes No | N/A | N/A |
|  | Low Point or Vapor Pot Sensor | Yes No | N/A | N/A |
|  | UDC Sensor or Float | Yes No | N/A | N/A |
|  | In-Tank Probe (e.g. ATG) | Yes No | N/A | N/A |

|  | External Overfill Alarm | Yes No | N/A | N/A |
| --- | --- | --- | --- | --- |
|  | Drop Tube or Drop Tube with Overfill Device | Yes No | N/A | N/A |
|  | Ball Float Valves | Yes No | N/A | N/A |
|  | Ball Valves | Yes No | N/A | N/A |
|  | Extractor Tees | Yes No | N/A | N/A |
|  | Flex Connectors | Yes No | N/A | N/A |
|  | Flex Connector Boots | Yes No | N/A | N/A |
|  | Vent Transition Containment Sump | Yes No | N/A | N/A |
|  | Line Leak Detector | Yes No | N/A | N/A |
|  | Penetration Fittings (pipe & conduit) | Yes No | N/A | N/A |
|  | Pipe Centralizer or Spacer | Yes No | N/A | N/A |
|  | Shear Valves (product & vapor) | Yes No | N/A | N/A |
|  | Dispensers | Yes No | N/A | N/A |
|  | Spill Containment & Lids | Yes No | N/A | N/A |
|  | Test and Reducer Boots | Yes No | N/A | N/A |
|  | Turbines | Yes No | N/A | N/A |
|  | Vent Caps | Yes No | N/A | N/A |
|  | Remote Fill Primary Pipe | Yes No | N/A | N/A |
|  | Remote Fill Secondary Pipe | Yes No | N/A | N/A |
|  | Low Point Or Transition Sump | Yes No | N/A | N/A |
|  | VPH System & Sensors (Veeder-Root, Beadreau etc.) | Yes No | N/A | N/A |
|  | Monitoring Panel Software / ECPU | Yes No | N/A | N/A |
|  | EVR Phase II Vapor Recovery Equipment | Yes No | N/A | N/A |
|  | Other | Yes No | N/A | N/A |
|  | Other | Yes No | N/A | N/A |
|  | Other | Yes No | N/A | N/A |

I) GENERAL INFORMATION (FOR ALL APPLICATIONS)

REASON FOR UPGRADE OR REPAIR:

UPGRADE OR REPAIR TO MEET CURRENT STATE/FEDERAL REQUIREMENTS

PIPING SYSTEM FAILURE

OTHER, BRIEFLY DESCRIBE:

_______________________________________________________________________________________

ESTIMATED STARTING DATE__________________ ESTIMATED COMPLETION ____________________

DISTANCE OF UST(S) FROM NEAREST WELL ________ FEET (minimum distance shall be 100 ft.)

DEPTH TO USABLE GROUND WATER (IF KNOWN) ___________________________________________

TYPE OF SYSTEM:	 PRESSURE	 SUCTION	 SAFE SUCTION	 GRAVITY

EMERGENCY GENERATOR

SCOPE OF WORK (DESCRIBE THE COMPONENTS THAT WILL BE MODIFIED, INSTALLED OR REPLACED):

_______________________________________________________________________________________

_______________________________________________________________________________________

II) FOR UST INSTALLATIONS:

A) MONITORING EQUIPMENT:

NAME OF THE COMPANY THAT WILL INSTALL, CALIBRATE & PROGRAM THE MONITORING EQUIPMENT:

_______________________________________________________

ADDRESS: _________________________________________________   PHONE #:  _____________

CONTRACTORS LICENSE NUMBER AND CLASSIFICATION: _____________________________

NAMES OF PERSONNEL EMPLOYED BY THIS CONTRACTOR WHO ARE CERTIFIED BY THE

MANUFACTURER TO INSTALL, CALIBRATE & PROGRAM THIS MAKE/MODEL OF MONITORING

EQUIPMENT: ____________________________________________________________________________

● ATTACH A COPY OF MONITORING SYSTEM MANUFACTURER’S TRAINING CERTIFICATION [FOR THE EMPLOYEE THAT WILL PERFORM THE INSTALLATION & PROGRAMMING].

B) OTHER CERTIFICATIONS

● ATTACH A PHOTOCOPY OF MANUFACTURER TRAINING CERTIFICATE FOR THE TANK, PIPE AND ALL OTHER UST COMPONENTS THAT WILL BE INSTALLED, REPLACED OR REPAIRED.

● ATTACH A PHOTOCOPY OF THE ICC INSTALLER CERTIFICATION FOR THE PERSON THAT WILL BE ON SITE SUPERVISING ALL UST WORK.

C) ENHANCED LEAK DETECTION (ELD):

NAME OF COMPANY THAT WILL PERFORM THE ELD TEST: ____________________________________

ADDRESS: __________________________________________________   PHONE: ___________________

● ATTACH A PROGRAM OF ENHANCED LEAK DETECTION (FROM THE COMPANY THAT WILL PERFORM THE ELD TEST).

D) VACUUM, PRESSURE OR HYDROSTATIC SYSYEM (VPH):

INDICATE WHAT TYPE OF CONTINUOUS VPH MONITORING WILL BE UTILIZED FOR:

● THE UST INTERSTICE	 				___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE PRODUCT PIPE INTERSTICE   		___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE VAPOR RECOVERY PIPE INTERSTICE 	___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE VENT PIPE INTERSITCE  				___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE TURBINE SUMP INTERSTICE    		___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE FILL SUMP INTERSTICE   				___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE VENT BOX INTERSTICE   				___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

● THE UDC INTERSTICE				            ___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

●    				                                    ___ VACUUM   ___ PRESSURE   ___ HYDROSTATIC

III) FOR UPGRADES AND APPLICABLE REPAIRS:

A) MONITORING EQUIPMENT:

NAME OF THE COMPANY THAT WILL INSTALL, CALIBRATE & PROGRAM THE MONITORING

EQUIPMENT: _______________________________________________________

ADDRESS: _________________________________________________   PHONE #:  _____________

LICENSE NUMBER AND CLASSIFICATION: _____________________________

NAMES OF PERSONNEL EMPLOYED BY THIS CONTRACTOR WHO ARE CERTIFIED BY THE

MANUFACTURER TO INSTALL, CALIBRATE & PROGRAM THIS MAKE/MODEL OF MONITORING

EQUIPMENT: _____________________________________________________________________________

● ATTACH A COPY OF MONITORING SYSTEM MANUFACTURER’S CERTIFICATION (FOR THE EMPLOYEE THAT WILL PERFORM THE INSTALLATION & PROGRAMMING).

B) OTHER CERTIFICATIONS

● ATTACH A PHOTOCOPY OF MANUFACTURER TRAINING CERTIFICATE FOR THE TANK, PIPE AND ALL OTHER UST COMPONENTS THAT WILL BE INSTALLED, REPLACED OR REPAIRED.

● ATTACH A PHOTOCOPY OF THE ICC INSTALLER CERTIFICATION FOR THE PERSON THAT WILL BE ON SITE SUPERVISING ALL UST WORK.

C) SAMPLING:

COMPANY NAME, ADDRESS AND PHONE NUMBER THAT WILL PERFORM SOIL AND OR WATER SAMPLING: _____________________________________________________________________________

NAME, ADDRESS, PHONE NUMBER AND CA STATE CERTIFICATION NUMBER FOR THE LAB THAT WILL PERFORM THE ANALYSIS ON THE SOIL AND OR WATER SAMPLES: _______________________________________________________________________________________

The owner or his agent shall be responsible for contracting with an independent, qualified third party to collect samples. The owner or his agent shall have the samples analyzed at a State approved analytical laboratory for product constituents as required by SCECD.  Brass, stainless steel, or teflon tubes shall be used to take soil samples. Glass containers (i.e., VOLATILE ORGANIC ANALYSIS bottles) shall be used to take water samples.  Other sampling arrangements shall be approved in advance by SCECD on a case by case basis.  The owner or his agent shall be responsible for making alternative arrangements in advance with SCECD via an approved written request.    sampling personnel shall be on site at the time of the sampling inspection.

IV) OWNER ACKNOWLEDGEMENT

I DECLARE THAT TO THE BEST OF MY KNOWLEDGE THE STATEMENTS AND INFORMATION PROVIDED ARE CORRECT AND TRUE.  I UNDERSTAND THAT INFORMATION, IN ADDITION TO THAT PROVIDED IN THIS APPLICATION, MAY BE NEEDED IN ORDER TO OBTAIN A PERMIT FROM THE SCECD AND THAT NO WORK IS TO BEGIN ON ANY PORTION OF THE UST SYSTEM OR THE UST LEAK DETECTION SYSTEM UNTIL THE AUTHORITY TO CONSTRUCT LETTER (PERMIT) IS ISSUED.

I UNDERSTAND THAT ANY CHANGES IN DESIGN, MATERIALS OR EQUIPMENT WILL VOID MY AUTHORITY TO CONSTRUCT (PERMIT) IF PRIOR APPROVAL IS NOT OBTAINED.

I UNDERSTAND THAT ANY INSPECTION APPOINTMENTS MUST BE ESTABLISHED WITH THE SCECD AT LEAST TWO WORKING DAYS (48 HOURS) IN ADVANCE.

| TANK OWNER'S SIGNATURE |  | DATE |  |
| --- | --- | --- | --- |
| PRINTED NAME |  | PHONE |  |
| TITLE |  |

NOTE: A COPY OF AN AUTHORIZED SIGNATORS FORM MUST BE ON FILE WITH THE SCECD IF AN INDIVIDUAL IS SIGNING FOR THE TANK OWNER.

NO UST CONSTRUCTION ACTIVITIES CAN PROCEED PRIOR TO ISSUANCE OF AN ‘AUTHORITY TO CONSTRUCT’ LETTER (PERMIT) BY THE SCECD.  THE ‘AUTHORITY TO CONSTRUCT’ LETTER WILL BE ADDRESSED TO THE OWNER AND IDENTIFY THE CONTRACTOR.  IT WILL LIST INSPECTION SCHEDULING AND SITE SPECIFIC CONSTRUCTION REQUIREMENTS.

V) ADDITIONAL ITEMS:

● For all applications submit (except repair of damaged pipe):

- A UST written monitoring plan.

- THREE SETS OF DRAWINGS (REFER TO THE “DRAWINGS AND PARTS LIST” DOCUMENT FOR THE ITEMS TO BE INCLUDED).

- IF A SUBCONTRACTOR IS UTILIZED TO WORK ON THE UST SYSTEM - THE NAME, ADDRESS, PHONE NUMBER, AND CONTRACTORS LICENSE NUMBER MUST BE SUBMITTED WITH THIS APPLICATION.

● For Installation applications submit:

- A Certificate of Financial Responsibility.

- A Hazardous Materials Business Plan.

● For the installation, modification or repair of a cathodic protection system –

complete and submit the:

-    “cathodic protection system installation, modification and repair addendum”

form.

THIS PAGE FOR AGENCY USE ONLY

UPGRADE & REPAIR SAMPLING NOTES

Site Name: ___________________________________________ 	Date: ____________

Site Address: _________________________________________	Inspector: ________________

Sampler Name: _________________________ Company Name:______________________________

Address & Phone Number: ____________________________________________________________

Laboratory Name, Address & Phone: ___________________________________________________

N

Analysis Required: _______________________________________________________________