Sacramento County

Environmental Management Department

Community Water Systems and Non-Transient Non-Community

Assessment of Historical Radionuclide Monitoring

Purpose of this form:  To determine whether radionuclide monitoring frequency may be reduced on the basis of historical data, as allowed under the new Federal and State Radionuclide Rules.

Complete a separate form for each active source serving your water system.  
Submit to Sacramento County Environmental Management Department – Small Water Systems Program prior to implementing a reduced monitoring frequency.

Water System Name: __________________________________ Water System No.: ________________

Source Name: ________________________________________ Primary Station Code: _____________

| Step 1: Has Historical Monitoring for Gross Alpha Been Completed? Have four consecutive quarters of Gross Alpha monitoring been completed for this source since January 1, 2001? □ Yes - monitoring completed. Please fill out Table 1 below. □ No - The system must complete four consecutive quarters1 of Gross Alpha monitoring for this source by December 31, 2007. (See cover letter) |
| --- |
| TABLE 1 - Gross Alpha (GA) Data |
| Column 1 | Column 2 | Column 3 | Column 4 | Column 5 (to be used in Steps 3 & 4) |
| Date of Sample | GA Result2 (pCi/L) | CE3 | Multiply 4 | GA Result + () (Sum of values in Columns 2 and 4) |
| Average/composite |  |  |  |  |

Step 2: Determination of Reduced Monitoring Frequency for Gross Alpha5 The reduced monitoring frequency is based on the average/composite shown in Table 1, Column 2. Choose the appropriate frequency below.

□ One sample every nine years if the average/composite of the monitoring results is below 3 pCi/L

□ One sample every six years if the average/composite of the monitoring results is greater than or equal to 3 pCi/L but less than or equal to 7.5 pCi/L

□ One sample every three years if the average/composite of the monitoring results is greater than 7.5 pCi/L but less than or equal to 15 pCi/L

□ Quarterly if the average/composite of the monitoring results is greater than 15 pCi/L

Step 3: Can the Gross Alpha Measurements be Used to Satisfy the Monitoring Requirements for Uranium and Radium-226? The Gross Alpha measurement may be substituted for Radium-226 and Uranium analyses if the four-quarter average/composite of the Gross Alpha result plus 4 does not exceed 5 pCi/L (See Table 1, Column 5). Please answer the following question: Is Gross Alpha particle activity < 5 pCi/L, based on the four-quarter average/composite of from Table 1? □ Yes - No additional monitoring is required except for Radium-228. Skip to Step 7 □ No - Go to Step 4.

| Step 4: Has Historical Monitoring for Uranium Been Completed? |
| --- |
| If the Gross Alpha particle activity is > 5 pCi/L, based on the four-quarter average or composite of from Table 1, then monitoring for Uranium is required. Have four consecutive quarters of Uranium monitoring been completed for this source since January 1, 2001? □ Yes - monitoring completed. Please fill out Table 2 below. □ No - The system must complete four consecutive quarters1 of Uranium monitoring for this source by December 31, 2007. |
| Table 2 - Uranium Data |
| Column 1 | Column 2 | Column 3 | Column 4 |
| Sample Date | Uranium Result (pCi/L) | GA Result + () (Copy values from Table 1 Column 5) | [GA + ()] - Uranium (To calculate the GA minus Uranium value the analysis results for GA and Uranium must come from the same sample) |
| Average/composite |  |  |  |

Step 5: Determination of Reduced Monitoring Frequency for Uranium6 The reduced monitoring frequency is based on the average/composite shown in Table 2, Column 2. Choose the appropriate frequency below.

□ One sample every nine years if the average/composite of the monitoring results is below 1 pCi/L

□ One sample every six years if the average/composite of the monitoring results is greater than or equal to 1 pCi/L but less than or equal to 10 pCi/L.

□ One sample every three years if the average/composite of the monitoring results is greater than 10 pCi/L but less than or equal to 20 pCi/L

□ Quarterly if the average/composite of the monitoring results is greater than 20 pCi/L

6  Use the average of the four Uranium analysis results or the result of the composited sample in Table 2 Column 2 to determine the reduced monitoring frequency for this source.

| Step 6: Has Historical Monitoring for Radium-226 Been Completed? |
| --- |
| Is the Gross Alpha particle activity minus Uranium < 5 pCi/L, based on the four-quarter average/composite of [] - Uranium (from Table 2, fourth column)? □ Yes - No additional monitoring is required except for Radium-228. Skip to Step 7 □ No - Monitoring for Radium-226 is Required. Please answer the following question: Have four consecutive quarters of Radium-226 monitoring been completed for this source since January 1, 2001? □ Yes - monitoring completed. Please fill out Table 3 below. □ No - The system must complete four consecutive quarters1 of Radium-226 monitoring for this source by December 31, 2007. |
| Table 3 - Radium-226 Data |
| Sample Date | Radium-226 Result (pCi/L) |

Step 7: Initial Monitoring for Radium-228 All community water systems must complete the initial monitoring requirement for Radium-228 The system must complete four consecutive quarters1 of Radium-228 monitoring for this source by December 31, 2007. (See cover letter)

Note:   After the initial monitoring for Radium-228 is completed, water systems will only need to monitor for Radium-226 and Radium-228 if the measured Gross Alpha particle activity minus Uranium exceeds 5 pCi/L.  The reduced monitoring frequency for Radium-226 and Radium-228 would be based on the combined Radium value (i.e. Radium-226 + Radium-228), and would be determined when the analysis results for Radium-228 become available.

Name of Water System Representative		Date

Signature	Phone